## 作業區分作業內容_定義 (hidden)
|  |  |  | 作業區分-作業內容定義 |  |  | 2022/5/16根據2022/4/1(森谷的PPT製作)
"作業區分"、"作業內容"欄位的定義-->選項設定
|  |  | No. | 作業區分 | 作業內容 |  | 作業內容說明(概要)
有償作業 | PO作業 | 保期外 | 10 | Preventive_Maintenance
|  |  |  | (予防保全) | 01 | Contract for Maintenance | 契約期間實施定期保養作業
|  |  |  | (客戶付費) | 02 | Repair | 契約期間,保養後的設備發生故障的修理
05Integrated Preventive Maintenance(總合整備作業 )以外的部品交換作業， 一般定期交換的部品交換作業。 尚未超過交換週期卻進行的部品交換作業。
|  |  |  | 預防保養性質作業,点検,維護合約..等作業 .. | 03 | Periodical inspection | 点検作業
非叫修的檢查作業，例:tsmc(新竹廠)的BMPM(雙月保)。
[5 empty] | 04 | Calibration (GLP/GMP)(Medical) | 校正,調整作業
[5 empty] | 05 | Integrated Preventive Maintenance | 總合整備作業
1) 換Tip 2) Stage整備(Laser, Guide Rail, , Brake, Ball Screw, Linear scale, Contact Pin, Returning Cable,リスト機構, Chuck, SPM) 3) 搬送Robot Overhaul(O/H)(TCA, Crank Arm, 回転Arm, PA Unit等） 4) Super Clean（Annual PM, Semi-Annual PM, Half Annual PM） 5) 其他Overhaul(O/H)
[5 empty] | 06 | Light Inspection | 簡易点検 / 輕微作業後的故障修復
沒有交換部品的作業(一般保養、調整、Clean)
[5 empty] | 07 | Minor Trouble(裝機開始7年外) | 輕微的故障 已逾原廠訂定之維修對應期間的裝置 1) 更換一般定期更換的零件 2) 經由更換一般定期更換零件而復歸，且該更換零件未逾原廠訂定之更換周期時
[5 empty] | 08 | Remote Maintenance | 遠端系統維護作業
|  | 保期外 | 15 | Solution_Business
|  |  |  | (提案作業) | 09 | Software/Network | 軟體 / 網路相關作業
[5 empty] | 10 | Application Support | 製程相關作業
|  |  |  | 改善方案性質作業 ..(客戶付費) | 11 | Remodel/Upgrade/Add-on | 樣式變更 / 產品改良 / 機能追加等改造作業
[5 empty] | 12 | Environmental Measurement | 磁場,震動,噪音..等環境測量作業
[5 empty] | 13 | In-house Seminar | 對客戶提案的教育訓練,或說明會
[5 empty] | 14 | Reuse | 中古製品 / 中古設備的拆裝機等業務等
[5 empty] | 15 | Trustee Analysis | 受託於顧客的分析作業
[5 empty] | 16 | Demonstration Support | 對客戶提案的評価支援作業
[5 empty] | 17 | Service Developed Product | 自社開発產品的販売 / 服務作業
[5 empty] | 18 | Accessories Sales | 附屬製品的販賣
|  | 保期內 | 20 | Installation
|  |  |  | (新機裝機作業) | 19 | Installation | 設備裝機作業
|  |  |  | ..(日立HT付費) | 20 | Installation of Fabless Product | 無產線客戶的裝機 / 試運轉受託作業
|  | 保外 | 25 | Relocation (客戶付費)
|  |  |  | (移機作業) | 21 | Relocation | 設備移機作業
|  | 保期外 | 30 | Product_Failure
|  |  |  | (保期外事故) | 02 | Repair | 保期外的故障修理 (事故件数計算)
尚未超過工廠保固期間的修理作業： 1)一般定期交換部品以外之交換作業。 2)一般定期交換部品以內之交換作業，但該部品尚未超過工廠所制定的交換週期。
[5 empty] | 06 | Light Inspection | 簡易点検 / 輕微作業後的故障修復(調整or清潔)
顧客叫修： 1)一般的保養、調整、Clean 2)一般定期交換的部品作業，但該部品尚未超過工廠制定的交換週期。
[5 empty] | 07 | Minor Trouble(裝機開始7年外) | 輕微的故障 已逾原廠訂定之維修對應期間的裝置 1) 更換一般定期更換的零件 2) 經由更換一般定期更換零件而復歸，且該更換零件未逾原廠訂定之更換周期時
|  |  |  | 非予防保全設備的故障對應作業 ..(客戶付費) | 22 | Failure Investigation | 調查故障原因或其他事項..等的作業
[5 empty] | 23 | Training/Instruction | 因應客戶需求,對客戶說明 / 訓練 / 指導
[5 empty] | 99 | Other | 其他
顧客叫修，非機台本身故障；或是客戶端引起的問題，但客戶沒有叫修；或是事故是因服務後才引起。
|  | 保期內 or 外 | 35 | Manufacturer Request
|  |  |  | (原廠依賴作業) | 16 | Demonstration Support | 受(日立HT)委託的評価支援作業(Demo Center用)
[5 empty] | 24 | Recall (Pharmaceutical Affairs Law) | 回收作業
|  |  |  | 保期內 / 外,受託於(日立HT) or營業的依賴作業 ..(日立HT付費) | 25 | Product Countermeasure | 因原廠責任的改良對策作業(既納品對策作業)
[5 empty] | 26 | Design/QA Support | 受(日立HT)委託的檢查/設計等支援作業 (LS評價機)
[5 empty] | 27 | Sales Support | 受營業委託的原廠駐在 / 客戶駐廠作業 (LS評價機)
[5 empty] | 28 | Request Oversea Company to Support | 來自(日立HT)的業務委託依賴作業
[5 empty] | 99 | Other | 其他
|  | 保外 | 40 | Parts_Sales
|  |  |  | (零件販售) | 29 | Only Service Parts Sales | 單純販售零件,和客戶交涉的相關作業時間
|  | 保期內 or 外 | 45 | Others(其他有償)
[5 empty] | 23 | Training/Instruction | 對客戶說明 / 訓練/指導
|  |  |  | 上述區分之外的有償作業 | 30 | Oversea Support | 到海外技術支援..等作業
[5 empty] | 31 | Contract Work for Fabless Product | 無產線客戶的生產受託作業
[5 empty] | 32 | Restorative Job for Natural Disaster | 天災後的調查 / 檢修等的修復作業
[5 empty] | 99 | Other | 其他
| 無 需 PO 作業 | 保 期 內 | 80 | Under_Warranty_Operation
|  |  |  | (原廠保証作業) | 02 | Repair | (一年目)保期內的故障修理(事故件数計算)部品交換
(二年目)05Integrated Preventive Maintenance(總合整備作業 )以外的部品交換作業，一般定期交換的部品交換作業。尚未超過交換週期卻進行的部品交換作業。
[5 empty] | 05 | Integrated Preventive Maintenance | 保期內,對設備進行總合整備作業(Overhaul作業)
換Tip, Stage整備, Robot O/H, Super Cleaning（SC and LC), 其他O/H
|  |  |  | 保証期間內的各項對應作業..(日立HT付費) | 06 | Light Inspection | 保期內,簡易点検 / 輕微作業後的修復(調整or清潔)
(一年目)(二年目)非部品交換作業(一般保養、調整、Clean) QC調整等
[5 empty] | 08 | Remote Maintenance | 保期內,對遠端系統維護作業
[5 empty] | 22 | Failure Investigation | 保期內,對製品運作狀況 / 裝置 / 環境等的調查
[5 empty] | 23 | Training/Instruction | 保期內製品關連,對客戶說明 / 訓練 / 指導
[5 empty] | 33 | Periodical Patrol for Product | 保期內的巡迴服務
[5 empty] | 34 | Special Support for Agent or Others | 對特約店提供支援..等相關作業
[5 empty] | 35 | Job for Consigned Product | 保期內裝置的委託商品業務
[5 empty] | 99 | Other | 其他
無 償 作 業 |  | 保期內 or 外 | 90 | Non_Billable_Operation
[5 empty] | 32 | Restorative Job for Natural Disaster | 天災後的調查 / 檢修等的修復作業
[5 empty] | 36 | Technical Training | 工廠實習 / 產品的實習 / OJT / 公司內部的教育等
[5 empty] | 37 | Tool Development | Service作業工具的開發
[5 empty] | 38 | System Development | 系統開發(資料製作/ 解決方案的開發..等)
[5 empty] | 39 | Extra Patrol for Product | 自主性巡迴服務
[5 empty] | 40 | Solution Pre-activity | 推展解決方案..等,或其他的說明(含 meeting)
[5 empty] | 41 | Call Center Support | ---
[5 empty] | 46 | Administration | 管理相關業務---
[5 empty] | 99 | Other | 其他
重要..需要選項正確 (下拉式選單)

## 共通報告書
[9 empty] | 維修服務報告書 | [9 empty] | 簽發日 |  | 2025 |  | 年 |  |  | 月 |  |  |  | 日
|  | 日立先端科技股份有限公司 | [11 empty] | 簽章
SVO. NO.
顧客名
依頼作業NO.
承辦人
品 名(Model) |  |  | CD_SEM |  |  |  | 形式 | [9 empty] | S/N | [8 empty] | 保証期間内 |  |  |  |  | 〇
保証期間外
製造年月 |  |  |  | 年 |  | 月 | 啟用年月 | [5 empty] | 年 |  |  | 月 | Tool ID | [8 empty] | 完 了 |  |  |  |  | 〇
未 完
依賴内容
現象内容 | [8 empty] | 原因內容 | [9 empty] | 處置內容
作業内容
請款對象 | [6 empty] | PO NO. | [10 empty] | 請求タイプ
技術者内容 |  | 作業者名 |  |  | 開始日 |  |  | 結束日 |  |  |  | 往返(H) |  |  | 工時(H) |  |  | 障害發生日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [7 empty] | 受付日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [7 empty] | 要求日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [7 empty] | 着手日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [7 empty] | 復旧日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [7 empty] | 完了日時 |  |  |  |  | 年 |  | 月 |  |  | 日 |  |  | 時 | 分
[6 empty] | / |  |  |  | / | [11 empty] | 時數(H) |  |  |  |  | 金額
[6 empty] | / |  |  |  | /
[6 empty] | / |  |  |  | / | [7 empty] | 平日
[6 empty] | / |  |  |  | /
[6 empty] | / |  |  |  | / | [7 empty] | 夜間/假日
[6 empty] | / |  |  |  | /
[6 empty] | / |  |  |  | / | [7 empty] | 合計 |  | JPY
[6 empty] | / |  |  |  | /
合計
社内連絡事項：
作業區分 | [9 empty] | 作業内容 | [9 empty] | Error Messege
[20 empty] | 承認者 |  |  |  | 審查者 |  |  |  |  | 作成者
Ver.10-00
通貨を変更できる必要があります

## 現象CODE (hidden)
W023_CD_REVIEWSEM | W025_EB | W013_ETCHER | W024_IS_LS | W021_Application
EVACUATION OPERATION FAILURE | LITHOGRAPHY FAILURE | OTHERS | LASER LIGHTNING SYSTEM FAILURE
VACUUM ERROR | LITHOGRAPHY BREAK | __ | SENSITIVITY/DETECTION FAILURE
IMAGE QUALITY, ALIGNMENT FAILURE | LITHOGRAPHY PREPARATION FAILURE | VACUUM SYSTEM ERROR | OPTICS/RECEPTION SYSTEM FAILURE
ELECTRON GUN (FE TIP) FAILURE | CASSETTE IN/OUT ERROR | DISCHARGE SYSTEM ERROR | MEASUREMENT ACCURACY FAILURE
HV SYSTEM FAILURE | ERROR AT PATTERN DATA REGISTRATION | TRANSFER SYSTEM ERROR | TRANSFER FAILURE
FOCUS FAILURE | ERROR AT JOB CREATION | POWER SUPPLY SYSTEM ERROR | XYZ THETA STAGE FAILURE
DEF./STIGMA FAILURE | PRE-ALIGNMENT ERROR | CONTROL/ELECTRIC SYSTEM ERROR | PRE-ALIGNMENT FAILURE
MODE RELATED FAILURE | ERROR AT DATA CONVERSION | UTILITY SUPPLY SYSTEM ERROR | CONTROL CIRCUIT, I/F FAILURE
BRIGHTNESS RELATED FAILURE | __ | SOFTWARE ERROR | DC POWER SUPPLY FAILURE
LOADER CHAMBER RELATED FAILURE | OTHERS | PROCESS FAILURE | PC FAILURE
SPECIMEN STAGE FAILURE |  | PARTICLE ERROR | SYSTEM SOFTWARE FAILURE
HOST CPU FAILURE |  | COMPLEX CAUSE ERROR | PRINTER FAILURE
C TO C FAILURE |  | LEAKAGE (WATER, GAS, CHEMICAL LIQUID) | DISPLAY FAILURE
ACCESSORIES FAILURE |  | SMOKING/FIRING | CONDITION SETTING FAILURE
WORK STATION RELATED FAILURE |  |  | OUTLOOK/STRUCTURE FAILURE
__ |  |  | __
OTHERS |  |  | OTHERS

## 處置CODE (hidden)
Exchange | Repair_Adjust | No_Action | Decline | Instruction | Preventive_Maintenance | Survey_activities | Sales_Support | Information_gathering | Other | __ | RM3P
Exchange/Semiconductor (PCB) | Repair Adjust/Circuit | No Action/Not Repeatable | Decline/Third Party Product | Instruction/Miss opeartion | PM:Product Complaint | Surv:Product Complaint | SaSp:Product Complaint | Info:Product Complaint | Othr:Product Complaint |  | RM3P:Get Product Failure Info.
Exchange/Electric | Repair Adjust/Mechanical | No Action/Part not available | Decline/Out of Spec. | Instruction/Incorrect document | PM:Job Performance Complaint | Surv:Job Performance Complaint | SaSp:Job Performance Complaint | Info:Job Performance Complaint | Othr:Job Performance Complaint |  | RM3P:Get Product Running Data
Exchange/Mechanical | Repair Adjust/Software(IncPar) | No Action/Not enough Time avbl | Decline/Misunderstanding | Instruction/Customer Utility | PM:Operation Check | Surv:Operation Check | SaSp:Operation Check | Info:Operation Check | Othr:Operation Check |  | RM3P:Get Baseline Data
Exchange/Software(Incl.Reload) | Repair Adjust/Initial Start | No Action/Cause Unkown |  |  | PM:Inspection(Brief/Final) | Surv:Inspection(Brief/Final) | SaSp:Inspection(Brief/Final) | Info:Inspection(Brief/Final) | Othr:Inspection(Brief/Final) |  | RM3P:Customer's Comment
Exchange/Product |  |  |  |  | PM:Room Survey | Surv:Room Survey | SaSp:Room SaSpey | Info:Room Infoey | Othr:Room Infoey |  | RM3P:Collect 3rd Party Data
Exchange/Consumable |  |  |  |  | PM:Opeartion Instruction | Surv:Opeartion Instruction | SaSp:Opeartion Instruction | Info:Opeartion Instruction | Othr:Opeartion Instruction |  | RM3P:Collect Replacement Plan
[5 empty] | PM:Parts Supply | Surv:Parts Supply | SaSp:Parts Supply | Info:Parts Supply | Othr:Parts Supply |  | RM3P:Present Maint Contract
[5 empty] | PM:Understand Customer Needs | Surv:Understand Customer Needs | SaSp:Understand Customer Needs | Info:Understand Customer Needs | Othr:Understand Customer Needs
[5 empty] | PM:Collect Replace Info | Surv:Collect Replace Info | SaSp:Collect Replace Info | Info:Collect Replace Info | Othr:Collect Replace Info
[5 empty] | PM:Collect Competitor Info | Surv:Collect Competitor Info | SaSp:Collect Competitor Info | Info:Collect Competitor Info | Othr:Collect Competitor Info
[5 empty] | PM:Consultations | Surv:Consultations | SaSp:Consultations | Info:Consultations | Othr:Consultations
[5 empty] | PM:Rqt Cust Buy Leased Product | Surv:Rqt Cust Buy Leased Prod | SaSp:Rqt Cust Buy Leased Prod | Info:Rqt Cust Buy Leased Prod | Othr:Rqt Cust Buy Leased Prod
[5 empty] | PM:Product Presentation | Surv:Product Presentation | SaSp:Product Presentation | Info:Product Presentation | Othr:Product Presentation
[5 empty] | PM:Others | Surv:Others | SaSp:Others | Info:Others | Othr:Others
[5 empty] | PM:Get Product Failure Info. | Surv:Get Product Failure Info. | SaSp:Get Product Failure Info. | Info:Get Product Failure Info. | Othr:Get Product Failure Info.
[5 empty] | PM:Get Product Running Data | Surv:Get Product Running Data | SaSp:Get Product Running Data | Info:Get Product Running Data | Othr:Get Product Running Data
[5 empty] | PM:Get Baseline Data | Surv:Get Baseline Data | SaSp:Get Baseline Data | Info:Get Baseline Data | Othr:Get Baseline Data
[5 empty] | PM:Customer's Comment | Surv:Customer's Comment | SaSp:Customer's Comment | Info:Customer's Comment | Othr:Customer's Comment
[5 empty] | PM:Collect 3rd Party Data | Surv:Collect 3rd Party Data | SaSp:Collect 3rd Party Data | Info:Collect 3rd Party Data | Othr:Collect 3rd Party Data
[5 empty] | PM:Collect Replacement Plan | Surv:Collect Replacement Plan | SaSp:Collect Replacement Plan | Info:Collect Replacement Plan | Othr:Collect Replacement Plan
[5 empty] | PM:Present Maint. Contract | Surv:Present Maint Contract | SaSp:Present Maint Contract | Info:Present Maint Contract | Othr:Present Maint Contract
[5 empty] | PM:Insp aftr Install/Test Run | Surv:Insp aft Install/Test Run | SaSp:Insp aft Install/Test Run | Info:Insp aft Install/Test Run | Othr:Insp aft Install/Test Run
[5 empty] | PM:Discussion aft Ope Decline | Surv:Disc after Ope Decline | SaSp:Disc after Ope Decline | Info:Disc after Ope Decline | Othr:Disc after Ope Decline
[5 empty] | PM:Non-Billable Routine Insp | Surv:Non-Billable Routine Insp | SaSp:Non-Billable Routine Insp | Info:Non-Billable Routine Insp | Othr:Non-Billable Routine Insp

## 作業內容 (hidden)
_10_Preventive_Maintenance | _15_Solution_Business | _20_Installation | _25_Relocation | _30_Product_Failure | _35_Manufacturer_Request | _40_Parts_Sales | _45_Others | _80_Under_Warranty_Operation | _90_Non_Billable_Operation
01:Contract for Maintenance | 09:Software/Network | 19:Installation | 21:Relocation | 02:Repair | 16:Demonstration Support | 29:Only Service Parts Sales | 23:Training/Instruction | 02:Repair | 32:Restorative Job for Natural Disaster
02:Repair | 10:Application Support | 20:Installation of Fabless Product |  | 06:Light Inspection | 24:Recall (Pharmaceutical Affairs Law) |  | 30:Oversea Support | 05:Integrated Preventive Maintenance | 36:Technical Training
03:Periodical inspection | 11:Remodel/Upgrade/Add-on |  |  | 07:Minor Trouble | 25:Product Countermeasure |  | 31:Contract Work for Fabless Product | 06:Light Inspection | 37:Tool Development
04:Calibration (GLP/GMP) (Medical) | 12:Environmental Measurement |  |  | 22:Failure Investigation | 26:Design/QA Support |  | 32:Restorative Job for Natural Disaster | 08:Remote Maintenance | 38:System Development
05:Integrated Preventive Maintenance | 13:In-house Seminar |  |  | 23:Training/Instruction | 27:Sales Support |  | 99:Other | 22:Failure Investigation | 39:Extra Patrol for Product
06:Light Inspection | 14:Reuse |  |  | 99:Other | 28:Request Oversea Company to Support |  |  | 23:Training/Instruction | 40:Solution Pre-activity
07:Minor Trouble | 15:Trustee Analysis |  |  |  | 99:Other |  |  | 33:Periodical Patrol for Product | 41:Call Center Support
08:Remote Maintenance | 16:Demonstration Support | [6 empty] | 34:Special Support for Agent or Others | 46:Administration
| 17:Service Developed Product | [6 empty] | 35:Job for Consigned Product | 99:Other
| 18:Accessories Sales | [6 empty] | 99:Other